## Slide 1: Sprint 7
Analysis: drifts in air pressure

## Slide 2: Agenda
Air pressure data analysis
  Altitude
  Temperature
  Humidity
Barometer drift detection
  Pairwise difference model
  Multi difference model
Next steps
Questions

## Slide 3: Air pressure modeling
Theory and data analysis

## Slide 4: Air pressure
Model for pressure based on ideal gas law:
And Bernoulli’s equation:
and depend on:
  Altitude
depends on:
  Temperature
  Humidity
depends on:
  Flow

## Slide 5: Altitude Barometric formula
Around sea-level, an increase of 100 m in altitude corresponds to a decrease of 12 cmH2O in air pressure.
Notes: https://en.wikipedia.org/wiki/Barometric_formula#Derivation

## Slide 6: Altitude Barometric formula
Notes: https://en.wikipedia.org/wiki/Barometric_formula

## Slide 7: Altitude Barometric formula
Notes: https://en.wikipedia.org/wiki/Barometric_formula

## Slide 8: Barometer altitude
Notes: Can be extracted with e.g. Google Elevation API for comparison.

## Slide 9: Temperature Data analysis
Temperature distribution of all barometers.

## Slide 10: Temperature Data analysis
Raw data: BAOL016X_W1666.csv and BAOL050X_56819.csv excluded.
Notes: Blue line is the median regression.

## Slide 11: Temperature Data analysis
Notes: Blue line is the median regression. Yellow is OLS: might be influenced by outliers.

## Slide 12: Temperature Theory
Both and are unknown (and interdependent)
We have only one equation
For discussion, see here
Theoretical effect of local temperature change on air pressure unknown. More research needed.

## Slide 13: Temperature Data analysis
The bulge? Seasonal?
Notes: Blue line is the median regression.

## Slide 14: Humidity Data analysis
Bulge due to high humidity?

## Slide 15: Humidity Theory
Theory assumes known and uses Dalton's law of partial pressures for density calculations.
(molar mass) is also impacted, again too many unknowns, so approximations are used. See here, note 14.
Theoretical effect of humidity on air pressure unknown. More research needed.

## Slide 16: Summary
Altitude
  Effect is significant: 12 cmH2O per 100m.
Temperature: effect unknown
  Data analysis suggests 0,07 cmH2O drop per 1 °C. Over the observed range [-10, 50] °C this amounts to 4 cmH2O change.
Humidity: effect unknown
  Seasonality analysis shows humidity has no impact on mean air pressure.
  Humidity might be causing more lower pressure observations during non-summer time. (i.e. the bulge around 5 °C)

## Slide 17: Barometer drift analysis
Theory and results

## Slide 18: Ideal situation: 2 barometers side by side
and
Subtract yields:
Notes: Neem aan dat epsilons normal verdeeld zijn.

## Slide 19: Pairwise comparison Two barometers close to each other.
At 11m and 13m altitude? So differences are white noise around 0 cmH2O.
Notes: At 11m and 13m altitude.

## Slide 20: Situation: 2 barometers at a distance
and
Subtract yields:

## Slide 21: Pairwise comparison Two barometers close to each other.
At -27m and -23m altitude? So differences are white noise around 0 cmH2O.
Notes: At 11m and 13m altitude.

## Slide 22: Pairwise comparison SD (MAD) of pressure differences (cmH2O) vs distance (km): Q50 and Q10

## Slide 23: Situation: 2 barometers at a distance and different altitude
and
Subtract yields:

## Slide 24: Pairwise comparison Two barometers far from each other.
At -32m and 13m altitude? So differences are white noise around 6 cmH20.

## Slide 25: Pairwise comparison Two barometers while one drifting: high SD
Very high SD due to drift.
Notes: Als nodig, dan kan ik die plots nog verbeteren… want in analyse 02 is matching niet optimaal.

## Slide 26: Pairwise comparison Problems

## Slide 27: Pairwise comparison Conclusion
They do not tell us which one is drifting,
If they both drift the same way, we do not even see it.

## Slide 28: Situation: multiple barometers at a distance and different altitude
and
Subtract yields:
Notes: Als hier nu een paar Yi fout zijn, maar de meeste Yi juist zijn, dan zouden die paar foute geen al te grote

## Slide 29: Multi comparison One barometer vs all the rest

## Slide 30: Multi comparison One barometer vs all the rest

## Slide 31: Multi comparison One barometer vs all the rest

## Slide 32: Multi comparison One barometer vs all the rest

## Slide 33: Multi comparison One barometer vs all the rest

## Slide 34: Multi comparison One barometer vs all the rest
Temperature pattern in blue: positively correlated.

## Slide 35: Multi comparison One barometer vs all the rest
You never see barometers first oscillating and then stabilizing.
Notes: Feit dat ze altijd naar het einde toe oscilleren weerlegt een mogelijk argument dat de baro’s in andere tijdenlijk andere weeromstandigheden staan.

## Slide 36: Multi comparison One barometer vs all the rest

## Slide 37: Multi comparison One barometer vs all the rest
Temperature pattern in blue: negatively correlated.

## Slide 38: Multi comparison One barometer vs all the rest

## Slide 39: Multi comparison One barometer vs all the rest

## Slide 40: Multi comparison One barometer vs all the rest
Sometimes negative, sometimes positive correlation?

## Slide 41: Multi comparison One barometer vs all the rest
Temperature peaks not in sync at the end.

## Slide 42: Multi comparison One barometer vs all the rest
This one is still good.

## Slide 43: Multi comparison One barometer vs all the rest

## Slide 44: Multi comparison One barometer vs all the rest

## Slide 45: Multi comparison One barometer vs all the rest
Old but also still good.

## Slide 46: Multi comparison One barometer vs all the rest

## Slide 47: Multi comparison One barometer vs all the rest

## Slide 48: Multi comparison One barometer vs all the rest

## Slide 49: Multi comparison One barometer vs all the rest

## Slide 50: Multi comparison One barometer vs all the rest

## Slide 51: Multi comparison One barometer vs all the rest

## Slide 52: Multi comparison One barometer vs all the rest
Very old but still “OK”? The oscillations are not all that big. Why?

## Slide 53: Multi comparison One barometer vs all the rest

## Slide 54: Multi comparison One barometer vs all the rest

## Slide 55: Multi comparison One barometer vs all the rest
Where will it end?

## Slide 56: Multi comparison One barometer vs all the rest
What happened?

## Slide 57: Multi comparison One barometer vs all the rest
Calibration test could verify this one is too low currently?

## Slide 58: Multi comparison One barometer vs all the rest
This one “was” new? Now unstable?

## Slide 59: Multi comparison One barometer vs all the rest
Unstable?

## Slide 60: Multi comparison One barometer vs all the rest
Unstable?

## Slide 61: Multi comparison One barometer vs all the rest
Unstable?

## Slide 62: Multi comparison One barometer vs all the rest
Unstable?

## Slide 63: Multi comparison One barometer vs all the rest
Unstable?

## Slide 64: Multi comparison: remarks
Universal way of matching barometers on timestamps.
  Truncation: 12h
    E.g. observation at 2019-02-02 13:05:00 UTC is truncated to 2019-02-02 12:00:00 UTC
  Averaging over truncated values.
Missing values for barometers are a potential problem.
  E.g. for 2020, if there is no barometers available for comparison, or if there is only a limited number of barometers available?
Seems many barometers become sensitive to temperature changes after x years?
  No clear temperature dependence pattern.
Many barometers seem broken? Median assumes about 50 % non-broken.
  After BAOL1XX less drifting cases but more unstable cases?
Some are just unstable? (i.e. not drifting)
  Mostly BAOL5XX

## Slide 65: Next steps
Continue “multi-comparison” analysis?
  Try removing altitude-effect for better comparison? (e.g. remove and )
    Compare altitudes based on barometric formula with real elevation based on the coordinates
  …?
First algorithm: detect trend for some structural break at for model
  detect_drifts(x, other)
    Need enough “other” data to compute “x”. Problem: what is enough?
    Detect any significant change in trend after .
  detect_drifts(x)
    Can be based on apriori data about . If trend is larger than the worst case in apriori data, then flag from .
  detect_drifts(x, altitude)
    …?

## Slide 66: Next steps: potential problems
How certain are we that barometers from analysis 04 are broken?
Unstable barometers: detecting change after with is difficult.

## Slide 67: Questions?
Frederic: question from GitHub solved?
Frederic: “Typically one Barologger can cover a radius of 30 km (20 mile) and/or every 300 m (1000 ft) elevation change.”
  Radius 30 km: error SD increase with 0,3 cmH2O (analysis)
  Elevation change of 300 m: 36 cmH2O change in mean (barometric formula)
Piet: hydrostatic error: 2 cmH2O.
  For baro’s from analysis of median: 1,3 cmH2O
  After about 100km the error is also 2 cmH20 due to distance.
Piet: -20 tot 50 °C: effect?
  Effect based on analysis: 70 * 0,068 = 4,8 cmH2O

## Slide 68: The End

## Slide 69: Sprint 6
gwloggeR v0.1.5

## Slide 70: Agenda
gwloggeR website
  User guide
  Algorithm documentation
  v0.1.5
  Development guide
Next steps
Notes: Vraag sprint 4: kunnen we in de resterende tijd iets maken dat tsoutliers-beperkingen omzeilt: vervolg is samenvatting van mijn poging.

## Slide 71: gwloggeR: website

## Slide 72: gwloggeR: getting started manual

## Slide 73: gwloggeR: air pressure vignette

## Slide 74: gwloggeR: hydrostatic pressure vignette

## Slide 75: gwloggeR: v0.1.5

## Slide 76: gwloggeR: development guide

## Slide 77: Next Steps
See future work:
  General
  Air pressure
  Hydrostatic pressure

## Slide 78: The End

## Slide 79: Sprint 5
Hydrostatic pressure AO, LS and TC detection

## Slide 80: Agenda
Theoretical underpinnings:
  Custom AO, LS and TC hydrostatic pressure detection
v0.05 (AO and LS detector)
v0.06 (AO, LS and TC detector)
Next steps
Notes: Vraag sprint 4: kunnen we in de resterende tijd iets maken dat tsoutliers-beperkingen omzeilt: vervolg is samenvatting van mijn poging.

## Slide 81: Theoretical underpinnings
Hydrostatic pressure AO, LS and TC detection

## Slide 82: Model:
DYLP126X_F6843.csv
Notes: Assumptie: simple first order diff model

## Slide 83: Differences:
Notes: How is epsilon distributed?

## Slide 84: Differences:
Notes: Normal? Something else?

## Slide 85: Observation:
Main observation is that is strongly influenced by
  So we assume is a function of
  -> How do we estimate ?
Notes: Big observation is that epsilon is a function of time: hoe plausible is het dat er na zo veel tijd zo’n grote jump is?

## Slide 86: A-priori hydrostatic pressure data for estimation
Raw Geotech 5min and 15min data: link (29 timeseries).

## Slide 87: Why not subsample intervals?
Problem
  In case of very large intervals (e.g. month or more): only a few samples
Subsampling
  Intuitively: not how a real logger works.
  Independence assumption: does not work in case of subsampling.

## Slide 88: Density of

## Slide 89: Median and 0.975 quantile of abs()

## Slide 90: Distribution of
Removing tidal effect results in quasi-normality?
Notes: Eens tidal effect is uitgefilterd lijkt het vrij normaal!
Now that we have the distribution we can start detecting:

## Slide 91: Detection based on a-priori information:
Outlier according to function.

## Slide 92: ToDo
Threshold for is currently min/max value + 10 %.
  This is Q&D because the distribution is unknown.
  Should be improved in the future, especially once tidal effect is removed and normality is attained?

## Slide 93: Outliers on a-priori can have different interpretations
LS (level shift)
AO (additive outlier)
TC (temporal change)
Still looking for more simple formalization methods.
Notes: Ben nog aan het zien naar betere/simpelere formalisatiemethode…

## Slide 94: How determine whether outliers is AO, LS or TC?
Engineering approach
  Simple at first sight, but becomes quite complex once special cases or TC is added
    Not a real option
Statistical approach
  Likelihood function needed
  3 contenting models for each point AO, LS and TC

## Slide 95: How determine whether outliers is AO, LS or TC?
Statistical approach
  Likelihood function needed
    Needs to be optimized
      Convexity of likelihood function?
        approximation with kernel: non-convex likelihood guaranteed = BAD
        approximation with normal density: mostly convex likelihood = OK
  3 contenting models for each point AO, LS and TC
    # parameters in full model is unknown at start
      Stepwise (forward and backward) model selection
      Model fit based on likelihood ratio (LR) test
Notes: We schatten dus epsilon(delta-t) op basis van normaliteit omdat de kans kleiner is dat we dan in een locale minima belanden.

## Slide 96: AO, LS, TC detection algorithm summary
Compute and ’s
Compute thresholds for each
Extract ’s which are candidates for AO, LS, TC
Iterate over all possibilities (, AO, LS, TC)
  Compute likelihood
  Test significance with LR-test and degrees of freedom (DF):
    AO, LS = 1DF, TC = 2DF
  Nothing more significant:
Report
type index alpha delta
1: AO 10824 -108.0 NA
2: AO 17175 -91.5 NA
3: LS 22552 -80.0 NA

## Slide 97: Example: Geotech v0.05
type index alpha delta
1: AO 10824 -108.0 NA
2: AO 17175 -91.5 NA
3: LS 22552 -80.0 NA
Notes: type index alpha delta
1: AO 10824 -108.0 NA
2: AO 17175 -91.5 NA
3: LS 22552 -80.0 NA

## Slide 98: Example: Geotech v0.05
AO and LS at the same time.
Notes: type index alpha delta
1: AO 3968 -363.446 NA
2: AO 13555 -164.792 NA
3: AO 14117 -351.283 NA
4: AO 18671 -98.525 NA
5: LS 18671 -83.125 NA
6: LS 18731 91.175 NA
7: AO 18731 -4.842 NA

## Slide 99: Example: INBO v0.05
Levelshift detection
is larger here
Notes: Levelshifts voorbeelden.

## Slide 100: Example: INBO v0.05
Outlier detection
Same diff(x) but different : second case is no outlier based on .
Notes: Levelshifts voorbeelden.

## Slide 101: DYLP023A_S3804
tsdiff vdiff lower.bound upper.bound mu sigma2 n.dens c outlier
3600 -119.1260886 -41.5 75.9 0.000790494 176.504 42216 5.533473 TRUE
3600 118.8260229 -41.5 75.9 0.000790494 176.504 42216 5.533473 TRUE
14400 -116.9593409 -135.8 172.5 -0.011306911 1776.242 10539 4.916277 FALSE
10800 122.2678611 -114.8 149.9 0.001284348 1201.918 14062 5.319899 FALSE
Notes: Hier is te zien dat er bij de eerste timediff 1u is, terwijl bij 2e om een langere periode gaat.

## Slide 102: v0.05
AO and LS detection
(Comparison with Sprint 3 LS discussion)

## Slide 103: INBO: v0.05
Note: v0.05 has never seen INBO data, only 29 timeseries of Geotech data.

## Slide 104: INBO: v0.05
Mathias: location is known. Dijle-valley. Highest peak is a flood. The other two are due to heavy rainfall before summer.

## Slide 105: INBO: v0.05
Based on Geotech data we have < 1 month…
Notes: Intuitief idee: na 4 jaar, wat is de kans dat die zo laag is gevallen?

## Slide 106: INBO: v0.05

## Slide 107: INBO: v0.05
Seasonality: yes LS: no

## Slide 108: INBO: v0.05
Water withdrawal
Notes: Water withdrawal. This should be flagged as level shift due to water withdrawal. Mathias: broken data logger... Frederic: best make difference between shifts that remain, and shifts that return? This is no ordinary LS.

## Slide 109: INBO: v0.05
LS? Not according to a-priori Geotech data

## Slide 110: INBO: v0.05
Seasonality or tidal effects due to 12h sampling?

## Slide 111: Geotech v0.05
Notes: type index alpha delta
1: LS 673 -385.6 NA
2: LS 683 342.0 NA

## Slide 112: Geotech v0.05
Notes: type index alpha delta
1: LS 8620 -74.317 NA
2: LS 8660 75.950 NA
3: AO 18420 -315.699 NA
4: LS 20693 -105.584 NA
5: AO 20693 5.075 NA
6: LS 23006 -66.091 NA
7: LS 23023 11.025 NA
8: LS 23333 122.617 NA
9: LS 31622 -369.950 NA

## Slide 113: v0.06
AO, LS and TC detection

## Slide 114: INBO: v0.06
Notes: type index alpha delta
1: AO 332 -180.9308 NA
2: TC 1576 -165.0541 0.299719

## Slide 115: INBO: v0.06
Notes: type index alpha delta
1: LS 2 178.426 NA
2: TC 6 -116.917 0.548
3: TC 4218 -110.551 0.717
4: TC 4955 -179.956 0.713

## Slide 116: INBO: v0.06
LR test = 0.0019 for LS vs TC model.

Threshold is set on 1/10000 = 0.0001 wrong tests….
Notes: type index alpha delta
1: LS 1906 -154.7760 NA
2: TC 2643 -205.3884 0.9
3: TC 2741 -188.7047 0.9
Browse[2]> base
[1] -6.138137
attr(,"par")
[1] -154.776
attr(,"types")
[1] "LS"
attr(,"indexes")
[1] 1
Browse[2]> pt$get(base.df + 1L)
[1] -1.326422
attr(,"par")
[1] -153.64 0.90
attr(,"types")
[1] "TC"
attr(,"indexes")
[1] 1
Browse[2]> lrtest(logL0 = base, logL = pt$get(base.df + 1L), df.diff = 1L)
[1] 0.001921106

## Slide 117: INBO: v0.06
LR test = 0.005 for LS vs TC model. 
Threshold is set on 1/10000 = 0.0001 wrong tests….
Notes: type index alpha delta
1: AO 1578 -54.779 NA
2: TC 1565 -99.690 0.661
3: TC 1547 -99.789 0.455
4: LS 6528 -83.536 NA

## Slide 118: INBO: v0.06
Notes: type index alpha delta
1: AO 1698 87.447 NA
2: AO 1674 -77.001 NA
3: LS 1665 73.573 NA
4: LS 1740 81.043 NA
5: AO 2097 79.124 NA
6: AO 2111 -71.188 NA
7: LS 2370 -218.148 NA
8: LS 2362 160.152 NA
9: LS 2380 152.116 NA
10: LS 2379 130.201 NA
11: LS 2382 109.761 NA
12: LS 2363 73.706 NA
13: AO 2370 49.139 NA
14: TC 2365 172.122 0.777
15: AO 2364 95.896 NA
16: LS 2676 82.418 NA
17: AO 2881 100.256 NA
18: LS 3071 587.422 NA
19: TC 3071 -421.719 0.756
20: LS 3070 70.966 NA
21: LS 3078 57.747 NA
22: AO 3119 -79.554 NA
23: LS 3107 -94.036 NA
24: LS 3110 -832.698 NA
25: LS 3108 -79.038 NA
26: LS 3114 234.116 NA
27: LS 3113 130.424 NA
28: TC 3110 745.722 0.900
29: LS 3120 138.363 NA
30: AO 3114 -101.795 NA
31: LS 3151 -120.416 NA
32: LS 3154 424.497 NA
33: LS 3149 137.709 NA
34: AO 3149 -67.512 NA
35: AO 3162 69.425 NA
36: TC 3154 -352.959 0.900
37: AO 4125 363.072 NA
38: LS 4125 128.011 NA
39: AO 4126 44.877 NA

## Slide 119: Geotech: v0.06

## Slide 120: Geotech: v0.05 vs. v0.06
Only differences in
  born_pb 94d_151202090852_T4175.MON
  born_pb 94d_160317114145_T4175.MON
  born_pb 112d_151202090850_T4180.MON
  pp09-1_120829130801_F5474.MON

## Slide 121: Geotech: v0.06 vs. v0.05 born_pb 94d_151202090852_T4175.MON
V0.06
Notes: type index alpha delta
1: AO 3968 -363.44550 NA
2: AO 13555 -164.79150 NA
3: AO 14117 -351.28300 NA
4: AO 18671 -98.52490 NA
5: LS 18671 -83.12519 NA
6: LS 18731 141.76297 NA
7: TC 18731 -55.43006 0.88835

## Slide 122: Geotech: v0.06 vs. v0.05 born_pb 94d_160317114145_T4175.MON
V0.06 (Wrong)
V0.05 (Correct)
Notes: type index alpha delta
1: TC 12646 -78.75362 0.9
2: LS 12819 18.66690 NA
3: LS 14964 -229.19110 NA
4: LS 14967 15.28390 NA
5: LS 17548 14.99090 NA
6: LS 18423 234.68931 NA
7: TC 18422 -26.10584 0.9
8: LS 21015 -379.05010 NA
9: LS 21051 334.48390 NA

## Slide 123: Geotech: v0.06 vs. v0.05 born_pb 112d_151202090850_T4180.MON
V0.06
V0.05
Takes 2 minutes to complete…
Notes: type index alpha delta
1: AO 3966 -336.291000 NA
2: LS 11151 -10.675097 NA
3: LS 11785 10.032903 NA
4: LS 19886 -182.234182 NA
5: AO 19908 -135.556366 NA
6: LS 19908 -28.647396 NA
7: LS 19930 35.651662 NA
8: LS 19929 24.020522 NA
9: LS 19931 18.204817 NA
10: LS 19922 98.079984 NA
11: TC 19922 -68.068404 0.861789
12: AO 19921 11.545716 NA
13: TC 19909 -49.970933 0.900000
14: LS 19928 7.035651 NA
15: LS 23049 -245.934097 NA

## Slide 124: Geotech: v0.06 vs. v0.05 pp09-1_120829130801_F5474.MON
V0.06
Notes: type index alpha delta
1: LS 12667 -115.47090 NA
2: TC 12667 67.47053 0.600487
3: AO 17938 -189.50000 NA
4: AO 26767 -340.00000 NA
5: AO 28706 -340.50000 NA

## Slide 125: Summary
Compared to tsoutliers we have:
  Speed: with TC detection ON, it usually takes less than a second or 2. There are few pathological cases: DYLP029A_S4054 and born_pb 112d_151202090850_T4180.MON that take 2 minutes to complete.
  No need for aggregation
  Variable decay
  A-priori information
  Variable time-intervals
  Allows for step-by-step model improvement
Cons:
  Ad hoc optimization (similar to tsoutliers)
  Development/testing

## Slide 126: Next Steps
Release version so it can be tested:
  gwloggeR interface
  Documentation (R-only)
  Result caching:
    AO, LS and TC need to be detected together: should not be recomputed for detect_levelshifts(), detect_outliers() and detect_temporalchange()
  Refactor code
  Better visualization of TC: draw exponential curve
  Code refactoring…
Package:
  version() function

## Slide 127: Next Steps
Vignette for hydrostatic pressure
  Summary of theoretical underpinnings of this presentation
v0.07: removing tidal effect
  Should fix TC on tidal data.
  Threshold for is now min/max value + 10 %
VMM data
  make object for reading VMM data

## Slide 128: The End

## Slide 129: Agenda
Documentation
Diagnostic plots (outliers)
Air pressure: clean a-priori data
Universal data loading
Geotech data
  Comparison outlier detection: v0.04 vs. tsoutliers
Next steps

## Slide 130: Sprint 4
Documentation and diagnostic plots

## Slide 131: Documentation
Vignette

## Slide 132: Documentation
2 main parts:
  Vignette
  API interface
Goal: pkgdown-like documentation
  Website-like documentation
  Supported by github
Vignette TOC

## Slide 133: Diagnostic plots
Outliers

## Slide 134: Diagnostic plots detect_outliers(x, plot = TRUE)

## Slide 135: Diagnostic plots detect_outliers(x, apriori(“air pressure”) , plot = TRUE)
A-priori (green)
Notes: Based on new data

## Slide 136: Diagnostic plots detect_outliers(x, apriori(“hydrostatic pressure”) , plot = TRUE)
Notes: Based on new data

## Slide 137: Air pressure
Clean a-priori data

## Slide 138: Air pressure: clean a-priori data
Notes: Aggregated by day --> Some data is is high frequency (like BAOL033X) which has 20x or more datapoints than others, and thus has a higher weight on the distribution.
Are BAOL040X and BAOL010X and BAOL094X from the same region? And BAOL070X? This latter might be amplifying the left skewness.
Only data with a timestamp is taken into consideration.

## Slide 139: Air pressure: aggregated clean a-priori data

## Slide 140: Comparison: apriori air pressure red (sd/mean), green (robust), yellow (robust old data)
A-priori pressure data is as good as it can get…
Notes: The green curve s the robust estimate for in v0.02 (mean = 1033.317 // sd = 9.586297). The yellow one is the old estimate (1034.2 // 9.93342).

## Slide 141: Example (BAOL005X_72525) v0.03 (new) vs. v0.02 (old)
Notes: Rechts: oude v0.02: eerste punt is geen outlier
Links: nieuwe v0.03: is outlier

## Slide 142: Logger
Universal data loading

## Slide 143: Uniform data loading: Logger object
Static methods:
  Logger::enumerate(partner = 'inbo')
  Logger::enumerate(partner = 'geotech’)
Initialization:
  df <- Logger('DYLP006X')$df
  df <- Logger('ff_b29d_0903')$df
Uniform dataframe:
  Primary key: MEASUREMENT_ID
  UTC timestamp: TIMESTAMP_UTC
  Value: PRESSURE_VALUE
  Units: PRESSURE_UNIT
Todo… VMM.
Notes: Bedoeling is dat hier ook VMM data op een gelijkaardige manier wordt geladen.

## Slide 144: VMM raw data?
http://www.ellitrack.nl/tracker/

## Slide 145: Geotechniek
Outliers

## Slide 146: Quick exploration
All data have timestamps without NA
Time intervals are either 5 or 15min:
  5 min 15 min 1307676 436567
  If necessary: best to aggregate on hourly basis?
The data is clearly seasonal and a random walk

## Slide 147: Geotech outlier comparison
Main comparison file:
  https://github.com/DOV-Vlaanderen/groundwater-logger-validation/blob/levelshifts/src/r/outliers/outliers_comparison_geotech.pdf
5 methods
  v0.01: normality assumption
  v0.02: upper level = apriori air pressure, lower level normality assumption
  v0.04: based on apriori difference min(left-diff, right-diff) knowledge:
    5min: max 10cmH2O
  tsoutliers:
    Full: AO, TC, LS
    AO only highlights with difference plot

## Slide 148
v0.01
v0.02
v0.04
tsoutliers --> AO, TC, LS
tsoutliers --> AO

## Slide 149: Geotech outlier comparison: v0.01
Data not normal but a seasonal random walk.

## Slide 150: Geotech outlier comparison: v0.01
Sometimes it works, but mostly not…

## Slide 151: Geotech outlier comparison: v0.02
Similar to v0.01…

## Slide 152: Geotech outlier comparison: v0.02
In the air…
“valid data”
Notes: Voordeel is dus dat je gemakkelijk kan zien of de data wel “valid is” … maar daar stopt het wel.

## Slide 153: Geotech outlier comparison: v0.04
Q&D threshold:
Q&D threshold:
Notes: Treshold: 10 and 30 cmH2O

## Slide 154: Geotech outlier comparison: v0.04
Detected… (cf. v0.01 not detected)

## Slide 155: Geotech outlier comparison: v0.04
Detected… (cf. v0.01 not detected)

## Slide 156: Geotech outlier comparison: v0.04
Detected… (cf. tsoutliers not detected due to aggregation)

## Slide 157: Geotech outlier comparison: v0.04
Detected… (cf. tsoutliers not detected due to last point or agg.)

## Slide 158: Geotech outlier comparison: v0.04
Missed due to multiple points. Level shift?

## Slide 159: Geotech outlier comparison: v0.04
Also missed.
Level shift?

## Slide 160: Geotech outlier comparison: tsoutliers
tsoutliers found it. Wrong point??

## Slide 161: Geotech outlier comparison: tsoutliers
Weird… (v0.04 detects nothing)

## Slide 162
tsoutliers detects two outliers? v0.04 nothing

## Slide 163
Only v0.04 detected…

## Slide 164
tsoutliers detects level shifts also…

## Slide 165
tsoutliers aggregates: how to extract 1 single point.
Notes: Omwille van aggregatie op uur ziet de tsoutlier plot er lichtjes anders uit.

## Slide 166: Geotech outlier comparison: conclusion
v0.01 and v0.02
  Normality assumption doesn’t apply to hydrostatic pressure.
  v0.02 could be used to assess validity of data.
tsoutliers
  Sometimes detects weird AO’s due to auto.arima model.
  Slow: +10h on pp09-2_120829131517_F8511, pp08-2_120829135933_F8503, ff_b51d_090429160102_C4089
  Aggregation required --> makes outlier detection and extraction of 1 point difficult.
  Biggest strength is LS detection.
    Personal note: we should be able to make something better.
v0.04
  Is intelligible and fast.
  Has no problems with first point and last point being outliers.
  Is good in detecting 1 point outliers.
  Has problems with > 1 point sequential outliers --> level shift?
  Has best potential for outlier detection?

## Slide 167: Level shifts: summary
Suggestion:
  Reference algorithm (for comparison): tsoutliers
  A custom approach…

## Slide 168
Level shift?
Notes: Omwille van aggregatie op uur ziet de tsoutlier plot er lichtjes anders uit.

## Slide 169
No level shift?
Notes: Omwille van aggregatie op uur ziet de tsoutlier plot er lichtjes anders uit.

## Slide 170
Multiple level shifts?

## Slide 171
Clear level shift.

## Slide 172
Clear short level shift and outlier.

## Slide 173: Next steps

## Slide 174: Next steps
VMM data?
Focus on intelligible models vs. tsoutliers?
  In case of outlier detection: you know “why”.
  Improve and implement v0.04?
Level shifts
  Improve tsoutliers (i.e. detect only large level shifts)
  Make diagnostic plots for level shifts.
  Custom approach…?

## Slide 175: The End

## Slide 176: Sprint 3
Level shifts

## Slide 177: Agenda
Outliers
Level shifts
  strucchange package
  tsoutliers package
  rank-based shift detection
Timestamps
Data aggregation
gwloggeR v0.1.2

## Slide 178: Outliers
Recap

## Slide 179: Outliers: v0.02
Validation
Excluded: BAOL089|BAOL079|BAOL006 (mBar)
Range: 800 < x < 1200
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 180: Outliers: v0.02 example detect_outliers(x, apriori("air pressure", "cmH2O"))

## Slide 181: Outliers: v0.02
Next steps
  Build kernel based on clean data
  Simulation test: verify power
  Document in detail
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 182: Level Shifts
strucchange
tsoutliers
rank-based

## Slide 183: strucchange package
For modeling changes in mean

## Slide 184: Level shift?

## Slide 185: Strucchange package

## Slide 186: Strucchange package
Pros:
  Detects changes in a linear model (e.g. intercept only linear regression)
  Mature package
  Speed: 5 min average
Cons:
  No ARIMA support
  Uses lots of memory (+5GB on some cases)

## Slide 187: tsoutliers package
For modeling level shifts with ARIMA models

## Slide 188: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 189: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 190: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 191: tsoutliers package
More cases: see here.

## Slide 192: tsoutliers package
Pros:
  Allows for a wide range of ARIMA-based models
  Seems to detect LS well
  Speed: 10 min average with aggregation
Cons:
  Can not be used without aggregation (for >5k points)
  Package is still in development

## Slide 193: Rank-based shift detection
For modeling level shifts with rank-based statistics

## Slide 194: Rank based level shift detection
Fried, R. e.a., On rank tests for shift detection in time series, 2007
Bovik, A.C. e.a., Nonparametric Tests for Edge Detection in Noise, 1986
Based on the distribution of a test statistic (e.g. Wilcoxon statistic) the normal situation can be defined. Based on this definition, exceptional shift situations could be detected.
Pro: speed!

## Slide 195: Defining Level Shift
Discussion

## Slide 196: Level shift?

## Slide 197: Level shift?
Notes: Lots of missing data!!

## Slide 198: Level shift?
Notes: Lots of missing data!!

## Slide 199: Level shift?

## Slide 200: Level shift?

## Slide 201: Level shift?
Notes: 2 shifts?

## Slide 202: Level shift?
Notes: Is rood een flat line?

## Slide 203: Level shift?

## Slide 204: Level shift?

## Slide 205: Level shift?

## Slide 206: Level shift: tsoutliers

## Slide 207: Level shift?
Notes: Is rood een flat line?

## Slide 208: Level shift?
?
Notes: Is rood een flat line?

## Slide 209: Level shift?
Notes: Is rood een flat line?

## Slide 210: Timestamps

## Slide 211: Timestamps: varying time-difference between observations (BAOL068X_180816.csv)
Sometimes 11, 12 or 13 hours
Notes: BAOL068X_180816.csv

## Slide 212: Timestamps: varying time-difference between observations
Equidistant observations are important for ARIMA-like timeseries models.
  Without equidistance, the usability of ARIMA is limited.
  Example: Differencing
    For small time-differences: measured differences determined by sensor inaccuracy
    For large time-differences: measured differences determined by sensor inaccuracy and atmospheric changes.
Timestamps: Take into account all kinds of scenarios?

## Slide 213: Importance
Visualization:
  Its either TIMESTAMP or SEQUENCE
INBO:
  Can make sure that timestamp is always available.
  Other parties?

## Slide 214: gwloggeR
Change log
Feedback?

## Slide 215: Change log
“Diver”  “hydrostatic pressure”
  ap <- apriori("hydrostatic pressure", "cmH2O")
  detect_outliers(x, apriori = ap)
detect_duplicates(ts)

## Slide 216: Aggregation function
Lump together and take average.
Other (better?) ways?

## Slide 217: Next steps

## Slide 218: Next steps
Outliers v0.02
  Build kernel based on clean data
  Simulation test: verify power
  Document in detail
Level shifts:
  Gather more Level Shift examples
  Better visualization
“Nederlanders”?

## Slide 219: Hysteresis?

## Slide 220: The End

## Slide 221: Sprint 2
Outliers

## Slide 222: Agenda
DRME_DMST_CDE validation
Outliers: v0.02 update
Comparison v0.01 vs v0.02
gwloggeR v0.1.1
Assessment
  anomalize
  tsoutliers

## Slide 223: DRME_DMST_CDE
Flags from DB: ENT (entered); DEL (deleted) and INV (invalid).

## Slide 224: DRME_DMST_CDE
On all *.csv-data:
DEL ENT INV VLD <NA>
462 556271 4697 16 0

## Slide 225: DRME_DMST_CDE: VLD and DEL
PPNT_ID PPNT_CDE DRSO_ID DRSO_SER_NBR DRME_ID DRME_OCR_UTC_DTE DRME_DRU DRME_TPU DRME_DMTP_CDE DRME_DMST_CDE SEQUENCE
1: 7019 BAOL001X 275 D0939 238389 2010-11-11 10:00:00 1018.100 NA LDME VLD 1093
2: 7019 BAOL001X 275 D0939 1824560 2010-11-11 10:00:00 1018.075 6.033 LDME ENT 1130
3: 7019 BAOL001X 275 D0939 238390 2010-11-11 22:00:00 1007.300 NA LDME VLD 1094
4: 7019 BAOL001X 275 D0939 1824561 2010-11-11 22:00:00 1007.275 8.163 LDME ENT 1131
5: 7019 BAOL001X 275 D0939 238391 2010-11-12 10:00:00 1015.400 NA LDME VLD 1095
6: 7019 BAOL001X 275 D0939 1824562 2010-11-12 10:00:00 1015.375 11.213 LDME ENT 1132
7: 7019 BAOL001X 275 D0939 238392 2010-11-12 22:00:00 1012.900 NA LDME VLD 1096
8: 7019 BAOL001X 275 D0939 1824563 2010-11-12 22:00:00 1012.850 12.457 LDME ENT 1133
9: 7019 BAOL001X 275 D0939 238393 2010-11-13 10:00:00 1014.600 NA LDME VLD 1097
10: 7019 BAOL001X 275 D0939 1824564 2010-11-13 10:00:00 1014.600 10.810 LDME ENT 1134
11: 7019 BAOL001X 275 D0939 238394 2010-11-13 22:00:00 1012.700 NA LDME VLD 1098
12: 7019 BAOL001X 275 D0939 1824565 2010-11-13 22:00:00 1012.675 10.953 LDME ENT 1135
Duplicates: Detect those too?
Notes: Duplicaten in de DB?

## Slide 226: DRME_DMST_CDE: INV
Validation

## Slide 227: DRME_DMST_CDE: INV
Validation

## Slide 228: DRME_DMST_CDE: INV
Validation
No Timestamp (Inconsistent)
No Timestamp: Detect those too?
Notes: Inconsistent because there are also black dots that have no timestamp.

## Slide 229: Outliers: v0.02 update
Uses simple a-priori knowledge about air pressure, temperature, etc.

## Slide 230: Outliers: v0.02 update
Validation
Excluded: BAOL089|BAOL079|BAOL006 (mBar)
Range: 800 < x < 1200
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 231: Outlier comparison
v0.01, v0.02, DRME_DMST_CDE

## Slide 232: Outlier comparison

## Slide 233: Outlier comparison

## Slide 234: Outlier comparison

## Slide 235: Outlier comparison

## Slide 236: Outlier comparison

## Slide 237: Outlier comparison

## Slide 238: Outlier comparison

## Slide 239: Outlier comparison

## Slide 240: tsoutliers package

## Slide 241: tsoutliers package
auto.arima(Nile)
Series: Nile
ARIMA(1,1,1)
Coefficients:
ar1 ma1
0.2544 -0.8741
s.e. 0.1194 0.0605
sigma^2 estimated as 19769: log likelihood=-630.63
AIC=1267.25 AICc=1267.51 BIC=1275.04
nile.outliers <- tso(Nile,types = c("AO","LS","TC"))
nile.outliers
Series: Nile
ARIMA(0,0,0) with non-zero mean
Coefficients:
intercept LS29 AO43
1097.7500 -242.2289 -399.5211
s.e. 22.6783 26.7793 120.8446
sigma^2 estimated as 14401: log likelihood=-620.65
AIC=1249.29 AICc=1249.71 BIC=1259.71
Outliers:
type ind time coefhat tstat
1 LS 29 1899 -242.2 -9.045
2 AO 43 1913 -399.5 -3.306
Notes: https://stats.stackexchange.com/questions/104882/detecting-outliers-in-time-series-ls-ao-tc-using-tsoutliers-package-in-r-how

## Slide 242: tsoutliers package: AO’s

## Slide 243: tsoutliers package: AO’s

## Slide 244: tsoutliers package: AO’s
WRONG
TIMESTAMPS NOT SEQUENTIAL
Notes: Afstandedn veel groter sinds 2018

## Slide 245: tsoutliers package
Pros:
  Formalism
  Integration with (S)ARIMA
Cons:
  Speed? (+12h on BAOL033X_C6550.csv)
  Ad-hoc (messy) solution
ToDo:
  Simulations for validation
  Visualization of AO, LS en TC outliers
    Think it best works with “all” outliers enabled.
Notes: Zou best

## Slide 246: anomalize package

## Slide 247: anomalize package
vs. tsoutliers
Notes: Same Nile dataset

## Slide 248: anomalize package
Pros:
  Straightforward and fast timeseries decomposition
Cons:
  Only AO
  LS and TC can not be specified
  Not backed by decent theory
Notes: Zou best

## Slide 249: gwloggeR
Feedback?

## Slide 250: Next steps

## Slide 251: Next steps
Define control vocabulary?
  Suggested function output:
?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 252: Next steps
Go further with tsoutliers
  Visualisation: level shift (LS)
Simulations
  Give a better idea of model performance for specific cases
  Examples:
    ARIMA(0,0,0) with AO
    ARIMA(0,0,0) with LS
    etc.
gwloggeR versioning?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 253: The End

## Slide 254: Sprint 1
Outliers

## Slide 255: Outliers
v0.01: detect_outliers(data)
  Uses only the supplied dataset
v0.02: detect_outliers(data, type = c(“air pressure”, “air temperature”), units)
  Uses simple a-priori knowledge about air pressure, temperature, etc.
v0.03: …

## Slide 256: Outliers: v0.01
Uses only the supplied dataset

## Slide 257: Outliers: v0.01
Validation

## Slide 258: Outliers: v0.01
Validation

## Slide 259: Outliers: v0.01
Validation

## Slide 260: Outliers: v0.01
Validation

## Slide 261: Outliers: v0.01
Validation

## Slide 262: Outliers: v0.01
Validation

## Slide 263: Outliers: v0.01
Validation

## Slide 264: Outliers: v0.01
Validation
Scale completely wrong?

## Slide 265: Outliers: v0.02
Uses simple a-priori knowledge about air pressure, temperature, etc.

## Slide 266: Outliers: v0.02
Validation

## Slide 267: Outliers: v0.02
Validation

## Slide 268: Outliers: v0.02
Validation

## Slide 269: Outliers: v0.02
Validation

## Slide 270: Summary
Outliers: v0.01
  detect_outliers(data)
  Usable on any data (not only L - lucht)
  Scale can be completely wrong (cf. BAOL018X_42112)
Outliers: v0.02:
  detect_outliers(data, type = c(“air pressure”, “air temperature”), units)
  Needs a-priori information
    Type
    Units
  Fixed or dynamic thresholds?
Notes: Tresholds voor outliers kunnen berekend worden op basis van handmatige prior analyse, of

## Slide 271: Outliers: v0.03
Go even further with a-priori information?

## Slide 272: Outliers: v0.03
Even more a-priori information to explain variation
Notes: Bijvoorbeeld, somige regio’s hebben lagere of hogere temperature, wat resulteert in hogere of lagere luchtdruk.

## Slide 273: Outliers: v0.03
Model for pressure based on Bernoulli’s equation:
depends on:
  Temperature (significant)
  Moisture?
depends on:
  Pressure (i.e. circular, so shouldn’t have any effect?)

## Slide 274: Outliers: v???
First order difference: very long tails
Notes: Very long tails, not normal

## Slide 275: Next steps

## Slide 276: Next steps
Make first version of package with outlier detector 0.01 and 0.02?
  If no extra data supplied, use v0.01, else v0.02?
  v0.02: fixed or dynamic thresholds?
Other ideas?
Notes: Misschien best om zo snel mogelijk met package te beginnen: dan kan gebruik meteen geevalueerd worden.

## Slide 277: The End