## Slide 1: Sprint 3
Level shifts

## Slide 2: Agenda
Outliers
Level shifts
  strucchange package
  tsoutliers package
  rank-based shift detection
Timestamps
Data aggregation
gwloggeR v0.1.2

## Slide 3: Outliers
Recap

## Slide 4: Outliers: v0.02
Validation
Excluded: BAOL089|BAOL079|BAOL006 (mBar)
Range: 800 < x < 1200
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 5: Outliers: v0.02 example detect_outliers(x, apriori("air pressure", "cmH2O"))

## Slide 6: Outliers: v0.02
Next steps
  Build kernel based on clean data
  Simulation test: verify power
  Document in detail
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 7: Level Shifts
strucchange
tsoutlier
rank-based

## Slide 8: strucchange package
For modeling changes in mean

## Slide 9: Level shift?

## Slide 10: Strucchange package

## Slide 11: Strucchange package
Pros:
  Detects changes in a linear model (e.g. intercept only linear regression)
  Mature package
  Speed: 5 min average
Cons:
  No ARIMA support
  Uses lots of memory (+5GB on some cases)

## Slide 12: tsoutliers package
For modeling level shifts with ARIMA models

## Slide 13: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 14: tsoutliers package
More cases: see here.

## Slide 15: tsoutliers package
Pros:
  Allows for a wide range of ARIMA-based models
  Seems to detect LS well
  Speed: 10 min average with aggregation
Cons:
  Can not be used without aggregation (for >5k points)
  Package is still in development

## Slide 16: Rank-based shift detection
For modeling level shifts with rank-based statistics

## Slide 17: Rank based level shift detection
Fried, R. e.a., On rank tests for shift detection in time series, 2007
Bovik, A.C. e.a., Nonparametric Tests for Edge Detection in Noise, 1986
Based on the distribution of a test statistic (e.g. Wilcoxon statistic) the normal situation can be defined. Based on this definition, exceptional shift situations could be detected.
Pro: speed!

## Slide 18: Defining Level Shift
Discussion

## Slide 19: Level shift?

## Slide 20: Level shift?
Notes: Lots of missing data!!

## Slide 21: Level shift?

## Slide 22: Level shift?

## Slide 23: Level shift?
Notes: 2 shifts?

## Slide 24: Level shift?

## Slide 25: Level shift?

## Slide 26: Level shift?

## Slide 27: Level shift: tsoutliers

## Slide 28: Level shift?
Notes: Is rood een flat line?

## Slide 29: Level shift?
?
Notes: Is rood een flat line?

## Slide 30: Level shift?
Notes: Is rood een flat line?

## Slide 31: Timestamps

## Slide 32: Timestamps: varying time-difference between observations (BAOL068X_180816.csv)
Sometimes 11, 12 or 13 hours
Notes: BAOL068X_180816.csv

## Slide 33: Timestamps: varying time-difference between observations
Equidistant observations are important for ARIMA-like timeseries models.
  Without equidistance, the usability of ARIMA is limited.
  Example: Differencing
    For small time-differences: measured differences determined by sensor inaccuracy
    For large time-differences: measured differences determined by sensor inaccuracy and atmospheric changes.
Timestamps: Take into account all kinds of scenarios?

## Slide 34: Importance
Visualization:
  Its either TIMESTAMP or SEQUENCE
INBO:
  Can make sure that timestamp is always available.
  Other parties?

## Slide 35: gwloggeR
Change log
Feedback?

## Slide 36: Change log
“Diver”  “hydrostatic pressure”
  ap <- apriori("hydrostatic pressure", "cmH2O")
  detect_outliers(x, apriori = ap)
detect_duplicates(ts)

## Slide 37: Aggregation function
Lump together and take average.
Other (better?) ways?

## Slide 38: Next steps

## Slide 39: Next steps
Outliers v0.02
  Build kernel based on clean data
  Simulation test: verify power
  Document in detail
Level shifts:
  Gather more Level Shift examples
  Better visusalisation
“Nederlanders”?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 40: Hysteresis?

## Slide 41: The End

## Slide 42: Sprint 2
Outliers

## Slide 43: Agenda
DRME_DMST_CDE validation
Outliers: v0.02 update
Comparison v0.01 vs v0.02
gwloggeR v0.1.1
Assessment
  anomalize
  tsoutliers

## Slide 44: DRME_DMST_CDE
Flags from DB: ENT (entered); DEL (deleted) and INV (invalid).

## Slide 45: DRME_DMST_CDE
On all *.csv-data:
DEL ENT INV VLD <NA>
462 556271 4697 16 0

## Slide 46: DRME_DMST_CDE: VLD and DEL
PPNT_ID PPNT_CDE DRSO_ID DRSO_SER_NBR DRME_ID DRME_OCR_UTC_DTE DRME_DRU DRME_TPU DRME_DMTP_CDE DRME_DMST_CDE SEQUENCE
1: 7019 BAOL001X 275 D0939 238389 2010-11-11 10:00:00 1018.100 NA LDME VLD 1093
2: 7019 BAOL001X 275 D0939 1824560 2010-11-11 10:00:00 1018.075 6.033 LDME ENT 1130
3: 7019 BAOL001X 275 D0939 238390 2010-11-11 22:00:00 1007.300 NA LDME VLD 1094
4: 7019 BAOL001X 275 D0939 1824561 2010-11-11 22:00:00 1007.275 8.163 LDME ENT 1131
5: 7019 BAOL001X 275 D0939 238391 2010-11-12 10:00:00 1015.400 NA LDME VLD 1095
6: 7019 BAOL001X 275 D0939 1824562 2010-11-12 10:00:00 1015.375 11.213 LDME ENT 1132
7: 7019 BAOL001X 275 D0939 238392 2010-11-12 22:00:00 1012.900 NA LDME VLD 1096
8: 7019 BAOL001X 275 D0939 1824563 2010-11-12 22:00:00 1012.850 12.457 LDME ENT 1133
9: 7019 BAOL001X 275 D0939 238393 2010-11-13 10:00:00 1014.600 NA LDME VLD 1097
10: 7019 BAOL001X 275 D0939 1824564 2010-11-13 10:00:00 1014.600 10.810 LDME ENT 1134
11: 7019 BAOL001X 275 D0939 238394 2010-11-13 22:00:00 1012.700 NA LDME VLD 1098
12: 7019 BAOL001X 275 D0939 1824565 2010-11-13 22:00:00 1012.675 10.953 LDME ENT 1135
Duplicates: Detect those too?
Notes: Duplicaten in de DB?

## Slide 47: DRME_DMST_CDE: INV
Validation

## Slide 48: DRME_DMST_CDE: INV
Validation

## Slide 49: DRME_DMST_CDE: INV
Validation
No Timestamp (Inconsistent)
No Timestamp: Detect those too?
Notes: Inconsistent because there are also black dots that have no timestamp.

## Slide 50: Outliers: v0.02 update
Uses simple a-priori knowledge about air pressure, temperature, etc.

## Slide 51: Outliers: v0.02 update
Validation
Excluded: BAOL089|BAOL079|BAOL006 (mBar)
Range: 800 < x < 1200
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 52: Outlier comparison
v0.01, v0.02, DRME_DMST_CDE

## Slide 53: Outlier comparison

## Slide 54: Outlier comparison

## Slide 55: Outlier comparison

## Slide 56: Outlier comparison

## Slide 57: Outlier comparison

## Slide 58: Outlier comparison

## Slide 59: Outlier comparison

## Slide 60: Outlier comparison

## Slide 61: tsoutliers package

## Slide 62: tsoutliers package
auto.arima(Nile)
Series: Nile
ARIMA(1,1,1)
Coefficients:
ar1 ma1
0.2544 -0.8741
s.e. 0.1194 0.0605
sigma^2 estimated as 19769: log likelihood=-630.63
AIC=1267.25 AICc=1267.51 BIC=1275.04
nile.outliers <- tso(Nile,types = c("AO","LS","TC"))
nile.outliers
Series: Nile
ARIMA(0,0,0) with non-zero mean
Coefficients:
intercept LS29 AO43
1097.7500 -242.2289 -399.5211
s.e. 22.6783 26.7793 120.8446
sigma^2 estimated as 14401: log likelihood=-620.65
AIC=1249.29 AICc=1249.71 BIC=1259.71
Outliers:
type ind time coefhat tstat
1 LS 29 1899 -242.2 -9.045
2 AO 43 1913 -399.5 -3.306
Notes: https://stats.stackexchange.com/questions/104882/detecting-outliers-in-time-series-ls-ao-tc-using-tsoutliers-package-in-r-how

## Slide 63: tsoutliers package: AO’s

## Slide 64: tsoutliers package: AO’s

## Slide 65: tsoutliers package: AO’s
WRONG
TIMESTAMPS NOT SEQUENTIAL
Notes: Afstandedn veel groter sinds 2018

## Slide 66: tsoutliers package
Pros:
  Formalism
  Integration with (S)ARIMA
Cons:
  Speed? (+12h on BAOL033X_C6550.csv)
  Ad-hoc (messy) solution
ToDo:
  Simulations for validation
  Visualization of AO, LS en TC outliers
    Think it best works with “all” outliers enabled.
Notes: Zou best

## Slide 67: anomalize package

## Slide 68: anomalize package
vs. tsoutliers
Notes: Same Nile dataset

## Slide 69: anomalize package
Pros:
  Straightforward and fast timeseries decomposition
Cons:
  Only AO
  LS and TC can not be specified
  Not backed by decent theory
Notes: Zou best

## Slide 70: gwloggeR
Feedback?

## Slide 71: Next steps

## Slide 72: Next steps
Define control vocabulary?
  Suggested function output:
?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 73: Next steps
Go further with tsoutliers
  Visualisation: level shift (LS)
Simulations
  Give a better idea of model performance for specific cases
  Examples:
    ARIMA(0,0,0) with AO
    ARIMA(0,0,0) with LS
    etc.
gwloggeR versioning?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 74: The End

## Slide 75: Sprint 1
Outliers

## Slide 76: Outliers
v0.01: detect_outliers(data)
  Uses only the supplied dataset
v0.02: detect_outliers(data, type = c(“air pressure”, “air temperature”), units)
  Uses simple a-priori knowledge about air pressure, temperature, etc.
v0.03: …

## Slide 77: Outliers: v0.01
Uses only the supplied dataset

## Slide 78: Outliers: v0.01
Validation

## Slide 79: Outliers: v0.01
Validation

## Slide 80: Outliers: v0.01
Validation

## Slide 81: Outliers: v0.01
Validation

## Slide 82: Outliers: v0.01
Validation

## Slide 83: Outliers: v0.01
Validation

## Slide 84: Outliers: v0.01
Validation

## Slide 85: Outliers: v0.01
Validation
Scale completely wrong?

## Slide 86: Outliers: v0.02
Uses simple a-priori knowledge about air pressure, temperature, etc.

## Slide 87: Outliers: v0.02
Validation

## Slide 88: Outliers: v0.02
Validation

## Slide 89: Outliers: v0.02
Validation

## Slide 90: Outliers: v0.02
Validation

## Slide 91: Summary
Outliers: v0.01
  detect_outliers(data)
  Usable on any data (not only L - lucht)
  Scale can be completely wrong (cf. BAOL018X_42112)
Outliers: v0.02:
  detect_outliers(data, type = c(“air pressure”, “air temperature”), units)
  Needs a-priori information
    Type
    Units
  Fixed or dynamic thresholds?
Notes: Tresholds voor outliers kunnen berekend worden op basis van handmatige prior analyse, of

## Slide 92: Outliers: v0.03
Go even further with a-priori information?

## Slide 93: Outliers: v0.03
Even more a-priori information to explain variation
Notes: Bijvoorbeeld, somige regio’s hebben lagere of hogere temperature, wat resulteert in hogere of lagere luchtdruk.

## Slide 94: Outliers: v0.03
Model for pressure based on Bernoulli’s equation:
depends on:
  Temperature (significant)
  Moisture?
depends on:
  Pressure (i.e. circular, so shouldn’t have any effect?)

## Slide 95: Outliers: v???
First order difference: very long tails
Notes: Very long tails, not normal

## Slide 96: Next steps

## Slide 97: Next steps
Make first version of package with outlier detector 0.01 and 0.02?
  If no extra data supplied, use v0.01, else v0.02?
  v0.02: fixed or dynamic thresholds?
Other ideas?
Notes: Misschien best om zo snel mogelijk met package te beginnen: dan kan gebruik meteen geevalueerd worden.

## Slide 98: The End