## Slide 1: Sprint 5
Hydrostatic pressure AO, LS and TC detection

## Slide 2: Agenda
Theoretical underpinnings for custom:
  AO, LS and TC hydrostatic pressure detection
v0.05 (AO and LS detector)
v0.06 (AO, LS and TC detector)
Next steps

## Slide 3: Theoretical underpinnings
Hydrostatic pressure AO, LS and TC detection

## Slide 4: Model:
DYLP126X_F6843.csv
Notes: Assumptie: simple first order diff model

## Slide 5: Differences:
Notes: How is epsilon distributed?

## Slide 6: Differences:
Notes: Normal? Something else?

## Slide 7: Observation:
Main observation is that is strongly influenced by
  So we assume is a function of
  -> How do we estimate ?
Notes: Big observation is that epsilon is a function of time: hoe plausible is het dat er na zo veel tijd zo’n grote jump is?

## Slide 8: A-priori hydrostatic pressure data for estimation
Raw Geotech 5min and 15min data: link (29 timeseries).

## Slide 9: Why not subsample intervals?
Problem
  In case of very large intervals (e.g. month or more): only a few samples
Subsampling
  Intuitively: not how a real logger works.
  Independence assumption: does not work in case of subsampling.

## Slide 10: Density of

## Slide 11: Median and 0.975 quantile of abs()

## Slide 12: Distribution of
Removing tidal effect results In quasi-normality?
Notes: Eens tidal effect is uitgefilterd lijkt het vrij normaal!
Now that we have the distribution we can start detecting:

## Slide 13: Detection based on a-priori information:
Outlier according to function.

## Slide 14: ToDo
Threshold for is now min/max value + 10 %.
  This is Q&D because the distribution is unknown.
  Should be improved in the future, especially once tidal effect is removed and normality is attained?

## Slide 15: Outliers on a-priori can have different interpretations
LS (level shift)
AO (additive outlier)
TC (temporal change)
Still looking for more simple formalization methods.
Notes: Ben nog aan het zien naar betere/simpelere formalisatiemethode…

## Slide 16: How determine whether outliers is AO, LS or TC?
Engineering approach
  Simple at first sight, but becomes quite complex once special cases or TC is added
    Not a real option
Statistical approach
  Likelihood function needed
  3 contenting models for each point AO, LS and TC

## Slide 17: How determine whether outliers is AO, LS or TC?
Statistical approach
  Likelihood function needed
    Needs to be optimized
      Convexity of likelihood function?
        approximation with kernel: non-convex likelihood guaranteed = BAD
        approximation with normal density: mostly convex likelihood = OK
  3 contenting models for each point AO, LS and TC
    # parameters in full model is unknown at start
      Stepwise (forward and backward) model selection
      Model fit based on likelihood ratio (LR) test
Notes: We schatten dus epsilon(delta-t) op basis van normaliteit omdat de kans kleiner is dat we dan in een locale minima belanden.

## Slide 18: Example: Geotech v0.05
AO and LS at the same time.

## Slide 19: Example: INBO v0.05
Levelshift detection
Notes: Levelshifts voorbeelden.

## Slide 20: Example: INBO v0.05
Outlier detection
Same diff(x) but different : second case is no outlier based on .
Notes: Levelshifts voorbeelden.

## Slide 21: DYLP023A_S3804
tsdiff vdiff lower.bound upper.bound mu sigma2 n.dens c outlier
3600 -119.1260886 -41.5 75.9 0.000790494 176.504 42216 5.533473 TRUE
3600 118.8260229 -41.5 75.9 0.000790494 176.504 42216 5.533473 TRUE
14400 -116.9593409 -135.8 172.5 -0.011306911 1776.242 10539 4.916277 FALSE
10800 122.2678611 -114.8 149.9 0.001284348 1201.918 14062 5.319899 FALSE
Notes: Hier is te zien dat er bij de eerste timediff 1u is, terwijl bij 2e om een langere periode gaat.

## Slide 22: v0.05
AO and LS detection

## Slide 23: INBO: v0.05
Note: v0.05 has never seen INBO data, only 29 timeseries of Geotech data.

## Slide 24: INBO: v0.05
Mathias: location is known. Dijle-valley. Highest peak is a flood. The other two are due to heavy rainfall before summer.

## Slide 25: INBO: v0.05
Based on Geotech data we have < 1 month…
Notes: Intuitief idee: na 4 jaar, wat is de kans dat die zo laag is gevallen?

## Slide 26: INBO: v0.05

## Slide 27: INBO: v0.05
Seasonality: yes LS: no

## Slide 28: INBO: v0.05
Water withdrawal
Notes: Water withdrawal. This should be flagged as level shift due to water withdrawal. Mathias: broken data logger... Frederic: best make difference between shifts that remain, and shifts that return? This is no ordinary LS.

## Slide 29: INBO: v0.05
LS? Not according to a-priori Geotech data

## Slide 30: INBO: v0.05
Seasonality or tidal effects due to 12h sampling?

## Slide 31: Geotech v0.05
Notes: type index alpha delta
1: AO 10824 -108.0 NA
2: AO 17175 -91.5 NA
3: LS 22552 -80.0 NA

## Slide 32: Geotech v0.05
Notes: type index alpha delta
1: LS 673 -385.6 NA
2: LS 683 342.0 NA

## Slide 33: Geotech v0.05
Notes: type index alpha delta
1: LS 8620 -74.317 NA
2: LS 8660 75.950 NA
3: AO 18420 -315.699 NA
4: LS 20693 -105.584 NA
5: AO 20693 5.075 NA
6: LS 23006 -66.091 NA
7: LS 23023 11.025 NA
8: LS 23333 122.617 NA
9: LS 31622 -369.950 NA

## Slide 34: v0.06
AO, LS and TC detection

## Slide 35: INBO: v0.06
Notes: type index alpha delta
1: AO 332 -180.9308 NA
2: TC 1576 -165.0541 0.299719

## Slide 36: INBO: v0.06
Notes: type index alpha delta
1: LS 2 178.426 NA
2: TC 6 -116.917 0.548
3: TC 4218 -110.551 0.717
4: TC 4955 -179.956 0.713

## Slide 37: INBO: v0.06
LR test = 0.0019 for LS vs TC model.

Threshold is set on 1/10000 = 0.0001 wrong tests….
Notes: type index alpha delta
1: LS 1906 -154.7760 NA
2: TC 2643 -205.3884 0.9
3: TC 2741 -188.7047 0.9
Browse[2]> base
[1] -6.138137
attr(,"par")
[1] -154.776
attr(,"types")
[1] "LS"
attr(,"indexes")
[1] 1
Browse[2]> pt$get(base.df + 1L)
[1] -1.326422
attr(,"par")
[1] -153.64 0.90
attr(,"types")
[1] "TC"
attr(,"indexes")
[1] 1
Browse[2]> lrtest(logL0 = base, logL = pt$get(base.df + 1L), df.diff = 1L)
[1] 0.001921106

## Slide 38: INBO: v0.06
LR test = 0.005 for LS vs TC model. 
Threshold is set on 1/10000 = 0.0001 wrong tests….
Notes: type index alpha delta
1: AO 1578 -54.779 NA
2: TC 1565 -99.690 0.661
3: TC 1547 -99.789 0.455
4: LS 6528 -83.536 NA

## Slide 39: INBO: v0.06
Notes: type index alpha delta
1: AO 1698 87.447 NA
2: AO 1674 -77.001 NA
3: LS 1665 73.573 NA
4: LS 1740 81.043 NA
5: AO 2097 79.124 NA
6: AO 2111 -71.188 NA
7: LS 2370 -218.148 NA
8: LS 2362 160.152 NA
9: LS 2380 152.116 NA
10: LS 2379 130.201 NA
11: LS 2382 109.761 NA
12: LS 2363 73.706 NA
13: AO 2370 49.139 NA
14: TC 2365 172.122 0.777
15: AO 2364 95.896 NA
16: LS 2676 82.418 NA
17: AO 2881 100.256 NA
18: LS 3071 587.422 NA
19: TC 3071 -421.719 0.756
20: LS 3070 70.966 NA
21: LS 3078 57.747 NA
22: AO 3119 -79.554 NA
23: LS 3107 -94.036 NA
24: LS 3110 -832.698 NA
25: LS 3108 -79.038 NA
26: LS 3114 234.116 NA
27: LS 3113 130.424 NA
28: TC 3110 745.722 0.900
29: LS 3120 138.363 NA
30: AO 3114 -101.795 NA
31: LS 3151 -120.416 NA
32: LS 3154 424.497 NA
33: LS 3149 137.709 NA
34: AO 3149 -67.512 NA
35: AO 3162 69.425 NA
36: TC 3154 -352.959 0.900
37: AO 4125 363.072 NA
38: LS 4125 128.011 NA
39: AO 4126 44.877 NA

## Slide 40: Geotech: v0.06

## Slide 41: Geotech: v0.05 vs. v0.06
Only differences in
  born_pb 94d_151202090852_T4175.MON
  born_pb 94d_160317114145_T4175.MON
  born_pb 112d_151202090850_T4180.MON
  pp09-1_120829130801_F5474.MON

## Slide 42: Geotech: v0.06 vs. v0.05 born_pb 94d_151202090852_T4175.MON
V0.06
Notes: type index alpha delta
1: AO 3968 -363.44550 NA
2: AO 13555 -164.79150 NA
3: AO 14117 -351.28300 NA
4: AO 18671 -98.52490 NA
5: LS 18671 -83.12519 NA
6: LS 18731 141.76297 NA
7: TC 18731 -55.43006 0.88835

## Slide 43: Geotech: v0.06 vs. v0.05 born_pb 94d_160317114145_T4175.MON
V0.06 (Wrong)
V0.05 (Correct)
Notes: type index alpha delta
1: TC 12646 -78.75362 0.9
2: LS 12819 18.66690 NA
3: LS 14964 -229.19110 NA
4: LS 14967 15.28390 NA
5: LS 17548 14.99090 NA
6: LS 18423 234.68931 NA
7: TC 18422 -26.10584 0.9
8: LS 21015 -379.05010 NA
9: LS 21051 334.48390 NA

## Slide 44: Geotech: v0.06 vs. v0.05 born_pb 112d_151202090850_T4180.MON
V0.06
V0.05
Takes 2 minutes to complete…
Notes: type index alpha delta
1: AO 3966 -336.291000 NA
2: LS 11151 -10.675097 NA
3: LS 11785 10.032903 NA
4: LS 19886 -182.234182 NA
5: AO 19908 -135.556366 NA
6: LS 19908 -28.647396 NA
7: LS 19930 35.651662 NA
8: LS 19929 24.020522 NA
9: LS 19931 18.204817 NA
10: LS 19922 98.079984 NA
11: TC 19922 -68.068404 0.861789
12: AO 19921 11.545716 NA
13: TC 19909 -49.970933 0.900000
14: LS 19928 7.035651 NA
15: LS 23049 -245.934097 NA

## Slide 45: Geotech: v0.06 vs. v0.05 pp09-1_120829130801_F5474.MON
V0.06
Notes: type index alpha delta
1: LS 12667 -115.47090 NA
2: TC 12667 67.47053 0.600487
3: AO 17938 -189.50000 NA
4: AO 26767 -340.00000 NA
5: AO 28706 -340.50000 NA

## Slide 46: Summary
Compared to tsoutliers we have:
  Speed: with TC detection ON, it usually takes less than a second or 2. There are few pathological cases: DYLP029A_S4054 and born_pb 112d_151202090850_T4180.MON that take 2 minutes to complete.
  No need for aggregation
  Variable decay
  A-priori information
  Variable time-intervals
  Allows for step-by-step model improvement
Cons:
  Ad hoc optimization (similar to tsoutliers)
  Development/testing

## Slide 47: Next Steps
Release version so it can be tested:
  gwloggeR interface
  Documentation (R-only)
  Result caching:
    AO, LS and TC need to be detected together: should not be recomputed for detect_levelshifts(), detect_outliers() and detect_temporalchange()
  Refactor code
Vignette for hydrostatic pressure
  Summary of theoretical underpinnings of this presentation
v0.07: removing tidal effect
  Threshold for is now min/max value + 10 %

## Slide 48: Sprint 4
Documentation and diagnostic plots

## Slide 49: Agenda
Documentation
Diagnostic plots (outliers)
Air pressure: clean a-priori data
Universal data loading
Geotech data
  Comparison outlier detection: v0.04 vs. tsoutliers
Next steps

## Slide 50: Documentation
Vignette

## Slide 51: Documentation
2 main parts:
  Vignette
  API interface
Goal: pkgdown-like documentation
  Website-like documentation
  Supported by github
Vignette TOC

## Slide 52: Diagnostic plots
Outliers

## Slide 53: Diagnostic plots detect_outliers(x, plot = TRUE)

## Slide 54: Diagnostic plots detect_outliers(x, apriori(“air pressure”) , plot = TRUE)
A-priori (green)
Notes: Based on new data

## Slide 55: Diagnostic plots detect_outliers(x, apriori(“hydrostatic pressure”) , plot = TRUE)
Notes: Based on new data

## Slide 56: Air pressure
Clean a-priori data

## Slide 57: Air pressure: clean a-priori data
Notes: Aggregated by day --> Some data is is high frequency (like BAOL033X) which has 20x or more datapoints than others, and thus has a higher weight on the distribution.
Are BAOL040X and BAOL010X and BAOL094X from the same region? And BAOL070X? This latter might be amplifying the left skewness.
Only data with a timestamp is taken into consideration.

## Slide 58: Air pressure: aggregated clean a-priori data

## Slide 59: Comparison: apriori air pressure red (sd/mean), green (robust), yellow (robust old data)
A-priori pressure data is as good as it can get…
Notes: The green curve s the robust estimate for in v0.02 (mean = 1033.317 // sd = 9.586297). The yellow one is the old estimate (1034.2 // 9.93342).

## Slide 60: Example (BAOL005X_72525) v0.03 (new) vs. v0.02 (old)
Notes: Rechts: oude v0.02: eerste punt is geen outlier
Links: nieuwe v0.03: is outlier

## Slide 61: Logger
Universal data loading

## Slide 62: Uniform data loading: Logger object
Static methods:
  Logger::enumerate(partner = 'inbo')
  Logger::enumerate(partner = 'geotech’)
Initialization:
  df <- Logger('DYLP006X')$df
  df <- Logger('ff_b29d_0903')$df
Uniform dataframe:
  Primary key: MEASUREMENT_ID
  UTC timestamp: TIMESTAMP_UTC
  Value: PRESSURE_VALUE
  Units: PRESSURE_UNIT
Todo… VMM.
Notes: Bedoeling is dat hier ook VMM data op een gelijkaardige manier wordt geladen.

## Slide 63: VMM raw data?
http://www.ellitrack.nl/tracker/

## Slide 64: Geotechniek
Outliers

## Slide 65: Quick exploration
All data have timestamps without NA
Time intervals are either 5 or 15min:
  5 min 15 min 1307676 436567
  If necessary: best to aggregate on hourly basis?
The data is clearly seasonal and a random walk

## Slide 66: Geotech outlier comparison
Main comparison file:
  https://github.com/DOV-Vlaanderen/groundwater-logger-validation/blob/levelshifts/src/r/outliers/outliers_comparison_geotech.pdf
5 methods
  v0.01: normality assumption
  v0.02: upper level = apriori air pressure, lower level normality assumption
  v0.04: based on apriori difference min(left-diff, right-diff) knowledge:
    5min: max 10cmH2O
  tsoutliers:
    Full: AO, TC, LS
    AO only highlights with difference plot

## Slide 67
v0.01
v0.02
v0.04
tsoutliers --> AO, TC, LS
tsoutliers --> AO

## Slide 68: Geotech outlier comparison: v0.01
Data not normal but a seasonal random walk.

## Slide 69: Geotech outlier comparison: v0.01
Sometimes it works, but mostly not…

## Slide 70: Geotech outlier comparison: v0.02
Similar to v0.01…

## Slide 71: Geotech outlier comparison: v0.02
In the air…
“valid data”
Notes: Voordeel is dus dat je gemakkelijk kan zien of de data wel “valid is” … maar daar stopt het wel.

## Slide 72: Geotech outlier comparison: v0.04
Q&D threshold:
Q&D threshold:
Notes: Treshold: 10 and 30 cmH2O

## Slide 73: Geotech outlier comparison: v0.04
Detected… (cf. v0.01 not detected)

## Slide 74: Geotech outlier comparison: v0.04
Detected… (cf. v0.01 not detected)

## Slide 75: Geotech outlier comparison: v0.04
Detected… (cf. tsoutliers not detected due to aggregation)

## Slide 76: Geotech outlier comparison: v0.04
Detected… (cf. tsoutliers not detected due to last point or agg.)

## Slide 77: Geotech outlier comparison: v0.04
Missed due to multiple points. Level shift?

## Slide 78: Geotech outlier comparison: v0.04
Also missed.
Level shift?

## Slide 79: Geotech outlier comparison: tsoutliers
tsoutliers found it. Wrong point??

## Slide 80: Geotech outlier comparison: tsoutliers
Weird… (v0.04 detects nothing)

## Slide 81
tsoutliers detects two outliers? v0.04 nothing

## Slide 82
Only v0.04 detected…

## Slide 83
tsoutliers detects level shifts also…

## Slide 84
tsoutliers aggregates: how to extract 1 single point.
Notes: Omwille van aggregatie op uur ziet de tsoutlier plot er lichtjes anders uit.

## Slide 85: Geotech outlier comparison: conclusion
v0.01 and v0.02
  Normality assumption doesn’t apply to hydrostatic pressure.
  v0.02 could be used to assess validity of data.
tsoutliers
  Sometimes detects weird AO’s due to auto.arima model.
  Slow: +10h on pp09-2_120829131517_F8511, pp08-2_120829135933_F8503, ff_b51d_090429160102_C4089
  Aggregation required --> makes outlier detection and extraction of 1 point difficult.
  Biggest strength is LS detection.
    Personal note: we should be able to make something better.
v0.04
  Is intelligible and fast.
  Has no problems with first point and last point being outliers.
  Is good in detecting 1 point outliers.
  Has problems with > 1 point sequential outliers --> level shift?
  Has best potential for outlier detection?

## Slide 86: Level shifts: summary
Suggestion:
  Reference algorithm (for comparison): tsoutliers
  A custom approach…

## Slide 87
Level shift?
Notes: Omwille van aggregatie op uur ziet de tsoutlier plot er lichtjes anders uit.

## Slide 88
No level shift?
Notes: Omwille van aggregatie op uur ziet de tsoutlier plot er lichtjes anders uit.

## Slide 89
Multiple level shifts?

## Slide 90
Clear level shift.

## Slide 91
Clear short level shift and outlier.

## Slide 92: Next steps

## Slide 93: Next steps
VMM data?
Focus on intelligible models vs. tsoutliers?
  In case of outlier detection: you know “why”.
  Improve and implement v0.04?
Level shifts
  Improve tsoutliers (i.e. detect only large level shifts)
  Make diagnostic plots for level shifts.
  Custom approach…?

## Slide 94: The End

## Slide 95: Sprint 3
Level shifts

## Slide 96: Agenda
Outliers
Level shifts
  strucchange package
  tsoutliers package
  rank-based shift detection
Timestamps
Data aggregation
gwloggeR v0.1.2

## Slide 97: Outliers
Recap

## Slide 98: Outliers: v0.02
Validation
Excluded: BAOL089|BAOL079|BAOL006 (mBar)
Range: 800 < x < 1200
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 99: Outliers: v0.02 example detect_outliers(x, apriori("air pressure", "cmH2O"))

## Slide 100: Outliers: v0.02
Next steps
  Build kernel based on clean data
  Simulation test: verify power
  Document in detail
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 101: Level Shifts
strucchange
tsoutliers
rank-based

## Slide 102: strucchange package
For modeling changes in mean

## Slide 103: Level shift?

## Slide 104: Strucchange package

## Slide 105: Strucchange package
Pros:
  Detects changes in a linear model (e.g. intercept only linear regression)
  Mature package
  Speed: 5 min average
Cons:
  No ARIMA support
  Uses lots of memory (+5GB on some cases)

## Slide 106: tsoutliers package
For modeling level shifts with ARIMA models

## Slide 107: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 108: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 109: tsoutliers package
Notes: Wat hier ook kan zijn, is dat intussentijd de situatie gewoon geleidelijk is gewijzigd: dus niet abrupt.

## Slide 110: tsoutliers package
More cases: see here.

## Slide 111: tsoutliers package
Pros:
  Allows for a wide range of ARIMA-based models
  Seems to detect LS well
  Speed: 10 min average with aggregation
Cons:
  Can not be used without aggregation (for >5k points)
  Package is still in development

## Slide 112: Rank-based shift detection
For modeling level shifts with rank-based statistics

## Slide 113: Rank based level shift detection
Fried, R. e.a., On rank tests for shift detection in time series, 2007
Bovik, A.C. e.a., Nonparametric Tests for Edge Detection in Noise, 1986
Based on the distribution of a test statistic (e.g. Wilcoxon statistic) the normal situation can be defined. Based on this definition, exceptional shift situations could be detected.
Pro: speed!

## Slide 114: Defining Level Shift
Discussion

## Slide 115: Level shift?

## Slide 116: Level shift?
Notes: Lots of missing data!!

## Slide 117: Level shift?
Notes: Lots of missing data!!

## Slide 118: Level shift?

## Slide 119: Level shift?

## Slide 120: Level shift?
Notes: 2 shifts?

## Slide 121: Level shift?
Notes: Is rood een flat line?

## Slide 122: Level shift?

## Slide 123: Level shift?

## Slide 124: Level shift?

## Slide 125: Level shift: tsoutliers

## Slide 126: Level shift?
Notes: Is rood een flat line?

## Slide 127: Level shift?
?
Notes: Is rood een flat line?

## Slide 128: Level shift?
Notes: Is rood een flat line?

## Slide 129: Timestamps

## Slide 130: Timestamps: varying time-difference between observations (BAOL068X_180816.csv)
Sometimes 11, 12 or 13 hours
Notes: BAOL068X_180816.csv

## Slide 131: Timestamps: varying time-difference between observations
Equidistant observations are important for ARIMA-like timeseries models.
  Without equidistance, the usability of ARIMA is limited.
  Example: Differencing
    For small time-differences: measured differences determined by sensor inaccuracy
    For large time-differences: measured differences determined by sensor inaccuracy and atmospheric changes.
Timestamps: Take into account all kinds of scenarios?

## Slide 132: Importance
Visualization:
  Its either TIMESTAMP or SEQUENCE
INBO:
  Can make sure that timestamp is always available.
  Other parties?

## Slide 133: gwloggeR
Change log
Feedback?

## Slide 134: Change log
“Diver”  “hydrostatic pressure”
  ap <- apriori("hydrostatic pressure", "cmH2O")
  detect_outliers(x, apriori = ap)
detect_duplicates(ts)

## Slide 135: Aggregation function
Lump together and take average.
Other (better?) ways?

## Slide 136: Next steps

## Slide 137: Next steps
Outliers v0.02
  Build kernel based on clean data
  Simulation test: verify power
  Document in detail
Level shifts:
  Gather more Level Shift examples
  Better visualization
“Nederlanders”?

## Slide 138: Hysteresis?

## Slide 139: The End

## Slide 140: Sprint 2
Outliers

## Slide 141: Agenda
DRME_DMST_CDE validation
Outliers: v0.02 update
Comparison v0.01 vs v0.02
gwloggeR v0.1.1
Assessment
  anomalize
  tsoutliers

## Slide 142: DRME_DMST_CDE
Flags from DB: ENT (entered); DEL (deleted) and INV (invalid).

## Slide 143: DRME_DMST_CDE
On all *.csv-data:
DEL ENT INV VLD <NA>
462 556271 4697 16 0

## Slide 144: DRME_DMST_CDE: VLD and DEL
PPNT_ID PPNT_CDE DRSO_ID DRSO_SER_NBR DRME_ID DRME_OCR_UTC_DTE DRME_DRU DRME_TPU DRME_DMTP_CDE DRME_DMST_CDE SEQUENCE
1: 7019 BAOL001X 275 D0939 238389 2010-11-11 10:00:00 1018.100 NA LDME VLD 1093
2: 7019 BAOL001X 275 D0939 1824560 2010-11-11 10:00:00 1018.075 6.033 LDME ENT 1130
3: 7019 BAOL001X 275 D0939 238390 2010-11-11 22:00:00 1007.300 NA LDME VLD 1094
4: 7019 BAOL001X 275 D0939 1824561 2010-11-11 22:00:00 1007.275 8.163 LDME ENT 1131
5: 7019 BAOL001X 275 D0939 238391 2010-11-12 10:00:00 1015.400 NA LDME VLD 1095
6: 7019 BAOL001X 275 D0939 1824562 2010-11-12 10:00:00 1015.375 11.213 LDME ENT 1132
7: 7019 BAOL001X 275 D0939 238392 2010-11-12 22:00:00 1012.900 NA LDME VLD 1096
8: 7019 BAOL001X 275 D0939 1824563 2010-11-12 22:00:00 1012.850 12.457 LDME ENT 1133
9: 7019 BAOL001X 275 D0939 238393 2010-11-13 10:00:00 1014.600 NA LDME VLD 1097
10: 7019 BAOL001X 275 D0939 1824564 2010-11-13 10:00:00 1014.600 10.810 LDME ENT 1134
11: 7019 BAOL001X 275 D0939 238394 2010-11-13 22:00:00 1012.700 NA LDME VLD 1098
12: 7019 BAOL001X 275 D0939 1824565 2010-11-13 22:00:00 1012.675 10.953 LDME ENT 1135
Duplicates: Detect those too?
Notes: Duplicaten in de DB?

## Slide 145: DRME_DMST_CDE: INV
Validation

## Slide 146: DRME_DMST_CDE: INV
Validation

## Slide 147: DRME_DMST_CDE: INV
Validation
No Timestamp (Inconsistent)
No Timestamp: Detect those too?
Notes: Inconsistent because there are also black dots that have no timestamp.

## Slide 148: Outliers: v0.02 update
Uses simple a-priori knowledge about air pressure, temperature, etc.

## Slide 149: Outliers: v0.02 update
Validation
Excluded: BAOL089|BAOL079|BAOL006 (mBar)
Range: 800 < x < 1200
Notes: Excluded: BAOL089|BAOL079|BAOL006
Range: 800 < x < 1200

## Slide 150: Outlier comparison
v0.01, v0.02, DRME_DMST_CDE

## Slide 151: Outlier comparison

## Slide 152: Outlier comparison

## Slide 153: Outlier comparison

## Slide 154: Outlier comparison

## Slide 155: Outlier comparison

## Slide 156: Outlier comparison

## Slide 157: Outlier comparison

## Slide 158: Outlier comparison

## Slide 159: tsoutliers package

## Slide 160: tsoutliers package
auto.arima(Nile)
Series: Nile
ARIMA(1,1,1)
Coefficients:
ar1 ma1
0.2544 -0.8741
s.e. 0.1194 0.0605
sigma^2 estimated as 19769: log likelihood=-630.63
AIC=1267.25 AICc=1267.51 BIC=1275.04
nile.outliers <- tso(Nile,types = c("AO","LS","TC"))
nile.outliers
Series: Nile
ARIMA(0,0,0) with non-zero mean
Coefficients:
intercept LS29 AO43
1097.7500 -242.2289 -399.5211
s.e. 22.6783 26.7793 120.8446
sigma^2 estimated as 14401: log likelihood=-620.65
AIC=1249.29 AICc=1249.71 BIC=1259.71
Outliers:
type ind time coefhat tstat
1 LS 29 1899 -242.2 -9.045
2 AO 43 1913 -399.5 -3.306
Notes: https://stats.stackexchange.com/questions/104882/detecting-outliers-in-time-series-ls-ao-tc-using-tsoutliers-package-in-r-how

## Slide 161: tsoutliers package: AO’s

## Slide 162: tsoutliers package: AO’s

## Slide 163: tsoutliers package: AO’s
WRONG
TIMESTAMPS NOT SEQUENTIAL
Notes: Afstandedn veel groter sinds 2018

## Slide 164: tsoutliers package
Pros:
  Formalism
  Integration with (S)ARIMA
Cons:
  Speed? (+12h on BAOL033X_C6550.csv)
  Ad-hoc (messy) solution
ToDo:
  Simulations for validation
  Visualization of AO, LS en TC outliers
    Think it best works with “all” outliers enabled.
Notes: Zou best

## Slide 165: anomalize package

## Slide 166: anomalize package
vs. tsoutliers
Notes: Same Nile dataset

## Slide 167: anomalize package
Pros:
  Straightforward and fast timeseries decomposition
Cons:
  Only AO
  LS and TC can not be specified
  Not backed by decent theory
Notes: Zou best

## Slide 168: gwloggeR
Feedback?

## Slide 169: Next steps

## Slide 170: Next steps
Define control vocabulary?
  Suggested function output:
?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 171: Next steps
Go further with tsoutliers
  Visualisation: level shift (LS)
Simulations
  Give a better idea of model performance for specific cases
  Examples:
    ARIMA(0,0,0) with AO
    ARIMA(0,0,0) with LS
    etc.
gwloggeR versioning?
Notes: temporal change : multiple points after the change should be “red”
Level shifts: how to flag those?

## Slide 172: The End

## Slide 173: Sprint 1
Outliers

## Slide 174: Outliers
v0.01: detect_outliers(data)
  Uses only the supplied dataset
v0.02: detect_outliers(data, type = c(“air pressure”, “air temperature”), units)
  Uses simple a-priori knowledge about air pressure, temperature, etc.
v0.03: …

## Slide 175: Outliers: v0.01
Uses only the supplied dataset

## Slide 176: Outliers: v0.01
Validation

## Slide 177: Outliers: v0.01
Validation

## Slide 178: Outliers: v0.01
Validation

## Slide 179: Outliers: v0.01
Validation

## Slide 180: Outliers: v0.01
Validation

## Slide 181: Outliers: v0.01
Validation

## Slide 182: Outliers: v0.01
Validation

## Slide 183: Outliers: v0.01
Validation
Scale completely wrong?

## Slide 184: Outliers: v0.02
Uses simple a-priori knowledge about air pressure, temperature, etc.

## Slide 185: Outliers: v0.02
Validation

## Slide 186: Outliers: v0.02
Validation

## Slide 187: Outliers: v0.02
Validation

## Slide 188: Outliers: v0.02
Validation

## Slide 189: Summary
Outliers: v0.01
  detect_outliers(data)
  Usable on any data (not only L - lucht)
  Scale can be completely wrong (cf. BAOL018X_42112)
Outliers: v0.02:
  detect_outliers(data, type = c(“air pressure”, “air temperature”), units)
  Needs a-priori information
    Type
    Units
  Fixed or dynamic thresholds?
Notes: Tresholds voor outliers kunnen berekend worden op basis van handmatige prior analyse, of

## Slide 190: Outliers: v0.03
Go even further with a-priori information?

## Slide 191: Outliers: v0.03
Even more a-priori information to explain variation
Notes: Bijvoorbeeld, somige regio’s hebben lagere of hogere temperature, wat resulteert in hogere of lagere luchtdruk.

## Slide 192: Outliers: v0.03
Model for pressure based on Bernoulli’s equation:
depends on:
  Temperature (significant)
  Moisture?
depends on:
  Pressure (i.e. circular, so shouldn’t have any effect?)

## Slide 193: Outliers: v???
First order difference: very long tails
Notes: Very long tails, not normal

## Slide 194: Next steps

## Slide 195: Next steps
Make first version of package with outlier detector 0.01 and 0.02?
  If no extra data supplied, use v0.01, else v0.02?
  v0.02: fixed or dynamic thresholds?
Other ideas?
Notes: Misschien best om zo snel mogelijk met package te beginnen: dan kan gebruik meteen geevalueerd worden.

## Slide 196: The End