## Slide 1: gwloggeR v0.1.5
https://dov-vlaanderen.github.io/groundwater-logger-validation/gwloggeR/

## Slide 2: Agenda
gwloggeR website
Core: 2 algorithms
  Air pressure
  Hydrostatic pressure
Demo
Future work
Discussion

## Slide 3: gwloggeR: website

## Slide 4: gwloggeR: getting started manual

## Slide 5: Air pressure
Outlier detection.

## Slide 10: Future work: air pressure
detect_outliers(x) based on estimator for variance.
Option to supply altitude of the air pressure logger.
  The pressure drops approximately by 11.3 Pa per meter in first 1000 meters above sea level.

## Slide 11: Hydrostatic pressure
Additive outlier (AO), level shift (LS) and temporal change (TC) detection.

## Slide 12
Normal noise model doesn’t work well on hydrostatic pressure data.

## Slide 13: tsoutliers package

## Slide 15: tsoutliers package
Pros:
  Allows for a wide range of ARIMA-based models
  Seems to detect LS well
  Speed: 10 min average with aggregation
Cons:
  Can not be used without aggregation (for >5k points): sometimes +24h (!!)
  Temporal change decay fixed to 0.7
  A-priori information not possible
  Time-intervals are fixed
  If auto-ARIMA is used: model not intelligible
  Has no problems with first point and last point being outliers

## Slide 16: INBO: v0.05
Based on Geotech data we have < 1 month…
Notes: Intuitief idee: na 4 jaar, wat is de kans dat die zo laag is gevallen?

## Slide 17: Geotech v0.05
type index alpha delta
1: AO 10824 -108.0 NA
2: AO 17175 -91.5 NA
3: LS 22552 -80.0 NA
Notes: type index alpha delta
1: AO 10824 -108.0 NA
2: AO 17175 -91.5 NA
3: LS 22552 -80.0 NA

## Slide 18: Geotech v0.05
AO and LS at the same time.
Notes: type index alpha delta
1: AO 3968 -363.446 NA
2: AO 13555 -164.792 NA
3: AO 14117 -351.283 NA
4: AO 18671 -98.525 NA
5: LS 18671 -83.125 NA
6: LS 18731 91.175 NA
7: AO 18731 -4.842 NA

## Slide 19: Geotech: v0.06 vs. v0.05 born_pb 94d_151202090852_T4175.MON
V0.06
Tidal effects should be incorporated in the future. As of now, disable TC for Geotech data.
Notes: type index alpha delta
1: AO 3968 -363.44550 NA
2: AO 13555 -164.79150 NA
3: AO 14117 -351.28300 NA
4: AO 18671 -98.52490 NA
5: LS 18671 -83.12519 NA
6: LS 18731 141.76297 NA
7: TC 18731 -55.43006 0.88835

## Slide 20: Geotech v0.05
Notes: type index alpha delta
1: LS 8620 -74.317 NA
2: LS 8660 75.950 NA
3: AO 18420 -315.699 NA
4: LS 20693 -105.584 NA
5: AO 20693 5.075 NA
6: LS 23006 -66.091 NA
7: LS 23023 11.025 NA
8: LS 23333 122.617 NA
9: LS 31622 -369.950 NA

## Slide 21: INBO v0.05
Levelshift detection
is larger here
Notes: Levelshifts voorbeelden.

## Slide 22: INBO v0.05
Outlier detection
Same diff(x) but different : second case is no outlier based on .
Notes: Levelshifts voorbeelden.

## Slide 23: DYLP023A_S3804
tsdiff vdiff lower.bound upper.bound mu sigma2 n.dens c outlier
3600 -119.1260886 -41.5 75.9 0.000790494 176.504 42216 5.533473 TRUE
3600 118.8260229 -41.5 75.9 0.000790494 176.504 42216 5.533473 TRUE
14400 -116.9593409 -135.8 172.5 -0.011306911 1776.242 10539 4.916277 FALSE
10800 122.2678611 -114.8 149.9 0.001284348 1201.918 14062 5.319899 FALSE
Notes: Hier is te zien dat er bij de eerste timediff 1u is, terwijl bij 2e om een langere periode gaat.

## Slide 24: Geotech: v0.06

## Slide 25: INBO: v0.06
Notes: type index alpha delta
1: LS 2 178.426 NA
2: TC 6 -116.917 0.548
3: TC 4218 -110.551 0.717
4: TC 4955 -179.956 0.713

## Slide 26: INBO: v0.06
LR test = 0.0019 for LS vs TC model.

Threshold is set on 1/10000 = 0.0001 wrong tests….
Notes: type index alpha delta
1: LS 1906 -154.7760 NA
2: TC 2643 -205.3884 0.9
3: TC 2741 -188.7047 0.9
Browse[2]> base
[1] -6.138137
attr(,"par")
[1] -154.776
attr(,"types")
[1] "LS"
attr(,"indexes")
[1] 1
Browse[2]> pt$get(base.df + 1L)
[1] -1.326422
attr(,"par")
[1] -153.64 0.90
attr(,"types")
[1] "TC"
attr(,"indexes")
[1] 1
Browse[2]> lrtest(logL0 = base, logL = pt$get(base.df + 1L), df.diff = 1L)
[1] 0.001921106

## Slide 27: Future work: hydrostatic pressure
Adjust model for tidal effects.
Better threshold estimation than current +20 % of min/max value.
Revise LR test threshold.
Use a-priori data more as a prior and estimate with data at hand.
Extract AO, LS and TC if verbose = TRUE.
Revise the 25 observations window.
Revise parameter significance test.
Lower threshold based on air pressure for detect_outliers()?
detect_temporalchanges() should flag everything until the decay is insignificant

## Slide 28: tsoutliers vs gwloggeR
Advatages vs. tsoutliers
  Speed: with TC detection ON, it usually takes less than a second or 2. There are few pathological cases: DYLP029A_S4054 and born_pb 112d_151202090850_T4180.MON that take 2 minutes to complete.
  No need for aggregation
  Variable decay
  A-priori information
  Variable time-intervals
  Allows for step-by-step model improvement
  Interpretable model
Cons:
  Ad hoc optimization (similar to tsoutliers)
  Development/testing

## Slide 29: The End